{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Balanço Hidráulico_20231210.xls"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Balanço Hidráulico_20231210.xls","index":0,"n_rows":11,"n_cols":5,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["","Albufeiras [GWh]","Fios de Água [GWh]","Mini Hídricas [GWh]","Total [GWh]"]
["Energia Afluente Total",48,21,8,77]
["Energia Afluente Útil",48,21,8,77]
["Produção",31,21,8,60]
["Bombagem",11,"","",11]
["Armazenamento",2468,"","",2468]
["[%]",76.5,"","",76.5]
["Variação Diária",26,"","",26]
["Descarregamento Total",1,0,"",1]
["Descarregamento Turbinável",1,"","",1]
[""]