{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["variação do consumo_20220131.xl"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"variação do consumo_20220131.xl","index":0,"n_rows":15,"n_cols":13,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
["","Consumo","Evolução [%]","","","Convencional","Evolução [%]","","","Elétrico","Evolução [%]","",""]
["","[GWh]","Mês","Ano","12 meses","[GWh]","Mês","Ano","12 meses","[GWh]","Mês","Ano","12 meses"]
["janeiro",5697,-4.7,-4.7,-1.3,3078,-28,-28,-0.6,2619,54.1,54.1,-2.6]
["fevereiro",4928,21,5.7,2.2,2796,-23.2,-25.9,-2.8,2132,392.5,122.8,11.2]
["março",5373,7.7,6.6,3.4,3104,-20.5,-23.8,-4.7,2269,109.4,118.3,18.2]
["abril",4621,-19.1,-0.5,-1.5,2883,-20.9,-23.1,-7.4,1738,-15.8,65.9,8.7]
["maio",5038,3,0.2,-2.7,2764,-22.2,-22.9,-11.2,2274,70.1,66.7,12.2]
["junho",5466,-7.5,-1.2,-4.6,2848,-15.1,-21.8,-13,2618,2.4,48.8,9.8]
["julho",5628,5.4,-0.3,-2.4,2814,-14.9,-20.9,-14.1,2814,38.2,46.9,18.6]
["agosto",5381,8,0.7,0.1,2633,-15.7,-20.3,-14.8,2749,47.8,47,28.2]
["setembro",5125,-14.5,-1.2,0,2629,-22,-20.5,-16.1,2496,-4.9,38.3,30.7]
["outubro",5003,-5.7,-1.6,1,2580,-16.3,-20.1,-15.8,2423,8.9,34.7,33.1]
["novembro",5303,-5.7,-2,1.1,2832,-9.6,-19.3,-15.3,2471,-0.7,30.4,31.5]
["dezembro",4199,-16.4,-3.2,-0.1,2692,-13.3,-18.8,-14.8,1507,-21.5,25.9,25.9]
[""]